## solar power
pro forma sheet for sizing PV applications
ENERGY CONSUMPTION
number | application | Watts | hrs/day | WH
3 | lampu TL | 10 | 3 | 90
1 | lampu PL | 7 | 2 | 14
3 | lampu lita | 1.5 | 2 | 9
1 | TV | 90 | 2 | 180
1 | telepon charger | 40 | 2 | 80
0 |  | 0 | 0 | 0
0 |  | 0 | 0 | 0
0 |  | 0 | 0 | 0
| total daily energy consumption |  |  | 373 | Wh
DAILY PV LOAD
array load = daily energy consumption/(battery efficiency x charge regulator efficiency)
battery efficiency |  | 0.8
regulator efficiency |  | 0.9
!!!!!!!!!!!!!!!!!!! | array load | 518.0556 | Wh/day | !!!!!!!!!!!!!!!!!!!
PV ARRAY SIZE REQUIRED
array size = array load/(insolation x mismatch factor)
insolation in worst month |  |  | 4
mismatch factor |  |  | 0.85 | (fixed)
| array size |  | 152.3693 | Wp
BATTERY SIZE REQUIRED
battery size = daily consumption/(max discharge x nominal voltage)
max discharge |  | 0.3
nominal voltage |  | 12
| battery size | 103.6111 | Ah